## Case details
WLC Memo: GLA Consultation
Case details
Date of first review: | 2025-12-18
Case Name: | Hayes Park West
Case Number: | 2025/0998
Case Officer: | Jon Sheldon
London Borough:
Application Type (Outline/Hybrid/Detailed): | Detailed
Applicant:
WLC Consultant: | Hoare Lea
Document Title: | WLC Template
Document Date: | 2025-09-25
Development proposals
Use | Floorspace/Number of units
GIA | 7386 | m2
m2
m2

## Detailed planning stage
| London Plan: Policy SI 2 of the London Plan requires planning applicants to submit a Whole Life-Cycle Carbon (WLC) assessment: https://www.london.gov.uk/sites/default/files/the_london_plan_2021.pdf | The updated GLA WLC template has been provided: 5500043-HLE-XX-XX-CA-ST-602028-P02 The update WLCA report has been provided: 5500043-HLE-XX-XX-RP-ST-602028-P03
Guidance and assessment template: Applicants should follow the GLA 'Whole Life-Cycle Carbon Assessments Guidance - March 2022 and the GLA WLC assessment template (https://www.london.gov.uk/what-we-do/planning/implementing-london-plan/london-plan-guidance/whole-life-cycle-carbon-assessments-guidance) which should be completed in full and submitted as an Excel document. Applicants should ensure they are familiar with the guidance in preparation for submitting their planning application.
The following comments set out how the applicant's planning application stage WLC assessment complies with the policy and guidance.
GLA Review_18/12/2025 |  | Applicant's response
General compliance comments
1 | The applicant has provided all information within the project details section of the template under the Detailed planning stage tab, in line with the GLA Whole Life-Cycle Carbon Assessment guidance document.
2 | The assessment method stated does conform with BS EN 15978 and 'RICS Professional Statement and guidance, Whole Life carbon assessment for the built environment' (RICS PS) as set out in the GLA Whole Life-Cycle Carbon Assessment guidance document.
3 | The applicant has confirmed that the operational modelling methodology for Module B6 results follows SAP.
4 | The assessment has been completed with a reference study period of 60 years.
5 | The software tool used is listed in Appendix 1 of the GLA Whole Life-Cycle Carbon Assessment guidance document. The applicant has provided confirmation that the tool used follows BS EN 15978 and covers modules A-C as a minimum.
6 | The source of carbon data for materials and products, and EPD database stated within the assessment does come from acceptable sources as set out in the GLA Whole Life-Cycle Carbon Assessment guidance document.
7 | The applicant has confirmed that 95% of the cost allocated to each building element category has been accounted for in the assessment. The applicant should provide details/evidence of the review process undertaken to confirm that 95% of the cost per building element category has been modelled. | Cost coverage at the elemental level has not been provided in this assessment, as elemental cost data was not available at the time of reporting to the required level of detail to carry out the cost coverage calculation. Where detailed quantities and cost data was not available, allowances have been made for all relevant elements using conservative industry-standard assumptions. (e.g. RICS WLC benchmarks, or OneClick LCA defaults). For example, an allowance has been made for Furniture, Fixtures and Equipment, which have not been specified yet. Other omitted cost line items are non-material, such as constructuon processes and are allowed for generally in the A5 Construction Site Operations.
8 | The applicant has provided explanation of the third-party verification mechanisms that have been adopted to quality assure the assessment.
9 | The applicant should confirm whether the applicant has submitted the assessment to the Built Environment Carbon Database or if the applicant has given permission for the GLA to submit the assessment to the Built Environment Carbon Database. | The box has been ticked to confirm the project can be submitted on my behalf.
Estimated WLC emissions
10 | The applicant has provided results that cover all of the life-cycle modules (A1-A5, B1-B5, B6-B7, C1-C4 and D).
11 | The applicant has provided results that fall within the WLC benchmarks for Module A1-A5. The results for Modules B-C are higher than the benchmarks, however, the applicant has reasonably explained the reasons for any divergences from the WLC benchmark. | The B-C impacts push the WLC results above the benchmark due to the high impact of B4 replacement in the services and the finishes, which are expected to require multiple replacements throughout the 60 year life of the building. At early design, these materials are based on standard RICS material assuptions. As the design progresses, it is expected that materials will become more specific and more long-life durable materials will be selected in line with the circular economy strategy.
Retention of existing buildings and structures
12 | The applicant has confirmed that options for retaining the existing buildings and structures have been fully explored before considering substantial demolition.
13 | The applicant has provided the pre-construction demolition carbon related emissions.
14 | The applicant has provided the percentage estimates of the new building development which will be made up of existing elements.
Key actions and further opportunities to reduce whole life-cycle carbon emissions
15 | The applicant has provided details of the main actions with the biggest impacts which have informed this stage of the assessment.
16 | The applicant has provided details of further potential opportunities which could be investigated as the design progresses, but which don't currently contribute towards the emissions reported in this WLC assessment.
17 | The applicant has provided an estimation of the WLC reduction (kgCO2e/m2 GIA) for all actions and further potential opportunities stated within the template.
Material quantity, assumptions and end of life scenarios
18 | The applicant should complete the material quantity and end of life scenarios table in full.
19 | All material types and quantities should be provided for all the applicable building element categories and align with the Assessment table. The applicant should provide the following: - Upper floors: Tiling for walls and floors has been included within the upper floors category, however, typically this is reported within the finishes section to ensure an accurate breakdown by material element category. Additionally, all adhesives and mortars for all tiling, flooring, carpet, etc. should be provided. Please review. - Roof: The applicant should ensure all roof elements have been provided, including waterproofing. - Stairs: The applicant should confirm the following: - Confirm whether all stairs within the building are stainless steel? - Confirm that handrailing's have been provided within the model for all stairs and ramps. - Clarify what the 'furniture' reported within the stairs and ramps section refers to. - Finishes: the applicant should provide all adhesives and mortars for all tiling, flooring, carpet, etc. - Services (MEP): The applicant should ensure the following items have been provided: - Lifts - Fire alarm systems - Sprinkler systems - Lighting distribution - Lights | In OneClickLCA, the summary report categorises elements by material. Upper floors includes the following materials: Concrete, steel, screed, balconies, waterproofing, cement boards. Oneclick has categorised these materials as mentioned. The tiling to the balconies has been included as 'Tiling for walls & floors' but this comes under the balconies. Mortar is included in the EPD. Roof: The waterproofing has been included in the plastic membranes quantity. Stairs: The staircase material is timber with stainless steel handrail. 'Furniture' is the way OneClick categorises the stairs, however this has been updated in the WLC template to a timber staicase. Finishes: Liquid sealant for flooring is provided in the 'sealant' category. The mortar and adehesives are included in the material EPDs for tiling. No carpets are included. Services: - Lifts - There are no lifts included in the proposed development - Fire alarms - Categorised as 5.11 Fire and lightning protection, categorised as 'other technology systems' - Sprinkler systems - Categorised as 5.11 Fire and lightning protection, categorised as 'other metals' - Lighting distribution - Categorised as 5.8 Electrical installations, therefore in the template have been included as Electrification components and systems. - Lights - Categorised as 5.8 Electrical installations, therefore in the template have been included as Electrification components and systems.
20 | Assumptions made with respect to maintenance, repair and replacement cycles (Module B) have been stated.
21 | Material 'end of life' scenarios (Module C) has been filled out for all applicable significant materials and should align with the projects separate Circular Economy Statement. | All end of life materials align with CES.
22 | The applicant should provide an estimated mass (kg) of reusable and recyclable materials for each building element category in line with the 'end of life' scenarios provided. The applicant should review and clarify (see rows 98 and 104 as examples). | Template updated to ensure end of life strategy matches the recycling quantity. See row 98 and 104 for gypsum and windows.
23 | The applicant has provided details of the refrigerants (name, charge, annual leakage rate, GWP, end of life recovery rate).
GWP potential for all life-cycle modules
24 | The applicant should complete the template GWP table completely. The applicant should clarify the following: - Sequestered carbon: There is no sequestered carbon for the internal door category. Please review and clarify. | EPD for wooden intenal doors was not resulting in any sequestered carbon. EPD has been updated, resulting in slight changes in results, which now includes sequestered carbon. Template updated. Report updated with results.