CONDITION 4a

SAMPLES OF MATERIALS

Café:

Bricks: HG Matthews machine made light multi mix.

Mortar: HG Matthews Newbuild mortar, ready mixed, cream in colour as made from a coarse sand (5mm down)

Brick: To be used for the Feature Wall of the Cafe

Zinc Cladding Sheet (to be allowed to weather): To be used for the escape stair

Steel: To be used for the external door and frame, solar fins and canopy structure.  To be painted to match the zinc cladding in colour and finish.

Perforated Aluminium: To be used for the curved plant screen on the roof of the cafe.  To be painted to match the zinc cladding in colour and finish.

Bricks and Mortar approved by Conditions Approval Ref. 14009/APP/2021/2015, dated 13th July 2021.