# Parking Design and Management Plan

## 1. Project Overview

Site Address: 72 Harefield Road, Uxbridge, Middx UB8 1PL
Development Type: Development of 9 flats consisting of 1 x 3-bed, 5 x 2-beds & 3 x 1-beds
Total Parking Provision: 12

## 2. Objectives

- Ensure efficient and safe vehicle movement

- Minimize congestion and environmental impact

- Prioritize sustainable transport options

- Provide accessible and equitable parking

## 3. Parking Design

### 3.1 Layout & Configuration

- 12 total spaces:

  - 9 residential spaces

  - 3 visitor spaces

- 1 accessible (disabled) bays located near entrance

- 1 EV charging bays

- 10 secure cycle parking spaces

### 3.2 Design Standards

- Space dimensions compliant with UK local authority guidelines

- Minimum bay size: 2.4m x 4.8m

### 3.3 Safety Features

- Adequate lighting

- Pedestrian walkways clearly marked

- Speed limit: 10 mph

## 4. Access & Circulation

- Single entry/exit point from main road

## 5. Parking Management Strategy

### 5.1 Allocation

- Residential spaces allocated via parking Bay Numbering system (contained within Purchase lease agreements)

## 6. Sustainable Transport Measures

- EV charging infrastructure x 1nr

- Cycle storage with weather protection

## 7. Accessibility & Inclusivity

- Step-free access from parking to building entrances

- Clearly marked accessible routes