Fire Safety Statement – The Lane Children’s Residential Home
Site Layout & Access for Firefighting
The site layout of the proposed Children’s Residential Home allows full access for emergency vehicles, including fire engines, in accordance with relevant fire safety and planning guidance. The designated fire assembly point is located safely at the front of the property, along the roadside, and will be clearly signposted to ensure easy identification during an emergency.
Fire Safety Measures
To ensure the safety of all residents and staff, the property will be equipped with a comprehensive fire safety system. This will include:
•	Mains-powered smoke and heat detectors with battery backup, installed throughout the home, in accordance with the latest Building Regulations and British Standards.
•	A carbon monoxide detection system in key areas, including the kitchen and utility spaces.
•	Fire blankets and extinguishers placed in appropriate and accessible locations.
•	Emergency lighting installed in all corridors, stairwells, and exit routes.
All systems will be regularly maintained and tested, and the children and staff will be trained in their use and response procedures.
Minimising the Risk of Fire Spread
The construction of the building will be designed to limit the spread of fire. External walls will consist of a fire-resistant brick cavity wall build-up, which provides inherent protection. Internal materials and finishes will be selected to meet fire resistance standards and will comply with all relevant building and fire safety regulations.
Means of Escape
All means of escape from the building will be fully compliant with the most recent Building Regulations and fire safety guidance for residential care premises. Escape routes will be:
•	Clearly marked with illuminated signage
•	Always kept free from obstruction
•	Designed to allow safe egress for individuals with limited mobility
All exit doors will be easily operable from the inside without the use of a key or special knowledge.
Evacuation Strategy
A clear and well-structured evacuation strategy will be developed specifically for the needs of a children’s residential setting. This will include:
•	A detailed fire detection and alarm system layout
•	A process for managing and identifying false alarms
•	Defined responsibilities for staff, including identifying who is responsible for calling emergency services
•	Clearly marked and practiced escape routes and exits
•	A designated and clearly identified external assembly point at the front of the property
Upon completion of the property, a Fire Safety Handbook will be produced and kept on-site. This document will contain:
•	Information on all installed fire safety systems and equipment
•	The building's evacuation plan and procedures
•	A record of fire drills and staff fire safety training
•	Contact details for emergency services and fire system maintenance contractors
Regular fire drills will be conducted involving both young people and staff to ensure familiarity with evacuation procedures, taking into account the specific needs and support levels of the residents.