Fire Strategy Statement

13-07-2023

Section 1: Site address

24 Spencer Avenue Hayes Middlesex UB4 0QX

Section 2: Description of proposed works

Proposed, Construction of Single storey 6.0m long Rear  Extension.

Section 3: State of consultation

No external consultation has been taken due to the minor size of the proposal of Single story rear extension, to an Existing 2 storey Semi-detached house, dwelling.

Section 4: General Notes- Comments

The proposed single storey rear extension is to provide a Family room with updated Kitchen,  The existing house contains: Living room/dining , kitchen, & toilet at Ground level, and

3 bedrooms and a bathroom at first floor level within the existing semi-detached house.

The house is of a 1930 construction date and will be improved to comply with the relevant Building control part B fire requirements.

The construction of new extension is of a brick and block cavity walls, warm deck flat roof over new kitchen extension, on timber joists with relevant fire separation within roof void.

Internal changes with Fire doors will be provided, Smoke detectors and all clear escape routes maintained to comply with Building regulations Part B.

The Existing 3 bedroom house will be refurbished with fire and smoke alarms including fire doors in placed.

Alternative means of escape to the rear garden and secondary means of escape from the rear garden via existing side access to front garden area of evacuation.

There is access for Fire appliances to place outside the gates.

Section 5: Site layout plan

See separate drawing