Dear Mr Chrysanthou,

Thanks for your email.

Our cooking will be only grill which will be used for eggs and sausages with a small chip fryer as it’s a cafe and we will be using the extractor fan of 4500 Cap.m3 air/hour with 2 silencers for noise control and also the kitchen odour control system as per the pictures attached.

i look forward to your prompt reply.

Many Thanks

Satinder
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Model:
Circular Inline Silencers - 0.9M
long-SLU-S00
£68.25 (excl. VAT)
£81.90 (inc. VAT)

Product Description Downloads

Inline Circular Attenuators in standard diameters
from 100mm to 400mm diameter. Attenu

are available in standard 300mm, 600m

900mm and 1200mm lengths.

This version is 900mm long
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Specifications

Cap.m3 air/hour 4500
Air outlet (mm) 341x396
El. power (kW) 0.736
Ampere (A) 5.4
Voltage (Volts) 230
Gross weight (kg) 17
Width (mm) 471
Type 12/12
EAN code 7435137871897
Depth (mm) 490
Height (mm) 521
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A » DustandGrease Filters
» Odour Control
» Carbon Discarb Cell 293H x 293W
x 598DMmMm

Model:
Activated Carbon Discarb Cell -
293H x 293VV x 598D0Dmm
£279.00 (excl. VAT)
£ 334.80 (inc. VAT

Product Description

Activated Carbon Discarb Cells, Grade 50, EXTRA
DUTY

Rating: 0.27m3/s @ 250 Pa

Size: 293H x 23 en 08D ACTUAL




