Date: 24.10.2025

FIRE SAFETY STATEMENT

3 Medman Close,

Uxbridge,

UB8 2LR

INTRODUCTION

This statement has been prepared on behalf of the applicants by the agent Freedom Homes Architects. Registered with ARB.

This statement sets out how the proposed scheme will comply with London Plan Policy D12A. In line with the Fire Safety Policy 12D(A) Pre-consultation Draft March 2021 Table A1.1

Please note that this document has been supplied for information only and does not in itself constitute a proposal to comply with the building regulations. I confirm that the proposed design will be fully compliant with the current Building Regulations which include:

- The annex will be served with smoke alarms

- Have a mains powered optical smoke detector with battery back up to BS 5839-Part 6, grade D, category LD3 standard. Wired on a separate circuit distribution board with heat resistant cable made identifiable.

- The front of the property is unobstructed to allow access for fire fighting vehicles/appliances.

I trust this is to your requirements.