# FIRE SAFETY STATEMENT

Location name: Siyan House

Address: 11 Repton Avenue, Hayes, Middlesex, UB3 4AF

Max occupancy: 1 x Child or Young Person and Staff

Service type: Children’s home.

## Under Siyan Care Limited

- SITE LAYOUT & ACCESS FOR FIRE FIGHTING

The site layout provides access for a fire engine the proposed access. The evacuation assembly point is along the road to the front of the site.

- FIRE SAFETY MEASURES

To reduce the risk to life the design of the house will incorporate fire and smoke alarm and carbon dioxide systems installed as required by the Building Regulations in the kitchen and escape corridors.

- MINIMISE FIRE SPREAD

To minimise the risk of fire spread the external walls construction is to be of a brick cavity wall buildup which is inherently fire resistant.

- MEANS OF ESCAPE

The means of escape is to be fully compliant with the latest building regulations.

- EVACUATION STRATEGY

The means of escape for the house is provided as noted in the above.

A handbook will be put together for the property, including information on the fire safety features and the location of the evacuation assembly point in case of emergency.

- THE EMERGENCY EVACUATION

The emergency evacuation strategy will show:

- the fire detection system installed in the property.

- a process for identifying false alarms.

- a clear understanding of who calls 999.

- the route and exits for people to escape which is clearly marked and

- a safe meeting point for residents.