HYDE PARK HAYES – HPH4 AND HPH5
OUTLINE INDICATIVE FIRE EVACUATION STRATEGY

This outline strategy has been prepared in respect of the planning applications at HPH4 and HPH5, Hyde Park Hayes.  It has been provided at the request of LBH’s Accessibility Officer, and is intended to provide an indicative fire evacuation strategy which could be employed for the two proposed office buildings.  However, it should be noted the final evacuation strategy for each building will be prepared and implemented by the final occupier of the buildings and, in these terms, the strategy may be subject to change. In any event, an appropriate and functional fire evacuation strategy will be a requirement for the occupier, under legislation not related to town planning.  

1. Introduction
2. Evacuation Assembly Point
Confirming the location of a safe area that would act as an assembly point, in the event that evacuation is required.  

3. Alarm Systems and Building Zones
Identifying details and specifications of the alarm system, including the type of alarm and methods of activation.  

4. Procedure in the Event of an Emergency Evacuation 
Confirming what measures would take place on the sounding of the fire alarm, to ensure that all members of staff and visitors can be safely evacuated and accounted for.  

5. Personal with Responsibilities During Evacuation 
Identifying members of staff who will have responsibility for evacuation in the event of it being required.  This section will also outline how other members of staff will be briefed in respect of evacuation procedures.  

6. Managing the Fire Plan
This section will identify how evacuation procedures will be maintained on an ongoing basis.  
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