NameofProject:

NameofStructure:

StructureReferenceNumber:

- HIGHWAYDETAILS

  - TypeofHighway

  - PermittedTrafficSpeed

  - ExistingRestrictions

- SITEDETAILS

  - ObstaclesCrossed

- PROPOSEDSTRUCTURE

59 Elm Avenue

Contiguous Piled Retaining Wall

Oak Grove

2 lane carriageway with footways on both sides

None

None

  - DescriptionofStructureanddesignworkinglife.

Contiguous structure retaining Oak Grove

  - StructuralType

  - FoundationType

  - SpanArrangement

  - ArticulationArrangements

Contiguous piled retaining wall.

Augured piles.

N/A

Notapplicable

  - RoadRestraintSystemType

The new structure shall have an N1 type parapet resisting impact loading, load resulting from 1.5T vehicle impacting the barrier, safety fence parapet will be independent and in front of the contiguous piled wall.

  - ProposedarrangementforMaintenanceandFutureinspection

    - TrafficManagement	Not Applicable

    - Access		Access to the retaining wall shall be via landscaped area round the development. Access arrangements are shown on the attached plan. Access shall be maintained for the existing retaining wall. A general inspection shall take place at 2years, 4 years with a principle inspection at 6 years intervals following completion on the site.

    - IntrusiveorFurtherInvestigationsProposed

N/a

  - EnvironmentandSustainability

The economic, social and environmental aspects of this

project have been considered. The structure has been designed to have minimal impact to the environment and will with stand impact of climate change with minimal maintenance. Where possible it is proposed to use materials that are locally sourced, from renewable sources, low in embodied energy, with long life expectancy and reused or recycled easily.

  - DurabilityandMaterials	Reinforced concrete is to meet the following criteria for

sustainability. During construction, the material can be locally sourced/produced supporting local economies. Cement replacements and recycled concrete aggregates have been considered in accordance with BS8500-2.

Concrete is to be of grade C32/40. Concrete design class is

To be DS-2ACECAC-2.Reinforcement is to b ein accordance with BS4449:2005. Reinforcement can be recycled at the end of its life. During its life reinforced concrete is inert, requiring minimal maintenance, with low risk of contamination to ground water for piles and capping beam

  - RisksandHazardsconsideredfordesign,execution,maintenanceanddemolition.

The principle risk is the failure of the embankment during the works.

How to do piles ??

Structures during the works. This risk shall be mitigated by providing raking props to support the existing retaining structures, which shall be removed as the new structure is constructed.

  - EstimatedCost ofproposedstructureandalternativesconsidered.

Cost of the retaining structure is estimated to be £20k. Alternative arrangements considered were a sheet pile wall. Sheet piling was rejected due to constraints imposed by TfL.

  - Proposedarrangementsforconstruction

    - Construction Sequence

1. Temporary raised piling mat installed by Main contractor (GGM Contractors).Infill crushed concrete to be used to create a level platform wide enough for safe access of the rig. No Vibration work to be carried out.

2. 350mm diameter auger bored pile installed to a designed depth of 8m

3. Piles installed in accordance with previous method statement.

4. A distance of at least 2no. piles is left before another pile is installed. Two piles will be left between concreted piles for each day of concreting.

5. Spoil removed by attendant excavator.

6. Upon completion the augers and piling rig will be cleaned and removed.

    - Traffic Management

    - Service Diversions

As all work will be within the site boundary and hoarding, minimal traffic management will be needed. The pavement of Oak Grove will need to blocked off for a few minutes in order to drive the machinery onto the site and again when the machinery leaves the site.

Not Required

    - InterfacewithExistingStructures.	None noted

- DESIGN/ASSESSMENTCRITERIA

  - Actions

    - PermanentActions	Soil and Water pressure to BS Correct

    - Snowwindandthermalactions	Notapplicable

    - ActionsrelatingtonormaltrafficAWregulationsandC&Uregulations

10kN/m2

    - ActionsrelatingtoGeneralOrderTrafficunder STGOregulations

20KN/m2,37.5 units of HB Loading

    - FootwayorFootbridgevariableactions

Actions upto the edge of the Footway 10kN/m2 for HA loading.

    - Actions relating to Special Order Traffic, provision for exceptional abnormal indivisible loads including location of vehicle track on deck cross section.

Notapplicable

    - AccidentalActions	Vehicle Impact with the Barrier. Loading

Resulting from a 1.5Tvehicle travelling at 80km/h impacting the barrier at 20 degrees.

    - Actionsduringconstruction	Soil pressures

    - Anyspecialactionsnotconsideredabove.N/A

  - Heavy orhighloadroute requirements and arrangements beingmade to preserve the route includingandprovisionsforfutureheavierloadsor futurewidening.

Not applicable

  - MinimumHeadroomProvided	No restrictions in headroom apply, and the works do

Not create any restrictions.

  - AuthoritiesConsultedandSpecialconditionsrequired

Hillingdon Highways consulted.

  - Standards and Documents listed in the Technical Approval Schedule.

British Standards:

Part 2 Loads Check Code

S8002 			Code of Practice for Earth Retaining Structures

BS8004 1986 		Foundations.

B.S.648: 1964		Schedule of weights of materials

B.S.6399: Part 1: 1996	Loading for structures

Part 1. Code of Practice for dead and imposed loads.

B.S.8110: Part 1: 1997	Structural use of concrete

Part 1. Code of practice for design and construction.

BD2/12 			Technical Approval of Highway Structures

TD19/06 		Requirements for Road Restraint Systems

  - ProposedDeparturesrelatingtodeparturesfromstandardsgivenin4.5

Not applicable

  - Proposed Departures relating to methods for dealing with aspects not covered by standards in

Not applicable

- STRUCTURALANALYSIS

  - Methods of analysis for proposed structure

RocScience FLAC3D

  - Descriptionanddiagramofidealisedstructuretobeusedforanalysis

Plan on Retaining wall:

Proposed Side Elevation to Highways Boundary:

  - Assumptionsintendedforcalculationofstructuralelementstiffness.

The stiffness ofelements has beencalculated usingclassical analysis.Stiffnessofconcreteisbasedonthevaluesin 8S5400part 4

  - Proposedrangeofsoilparameterstobeusedinthedesign/assessmentofthestructure.

| SOILLAYER | Nspt | (kN/m3) | () | C’ (kPa) | Cu(kPa) | Eu | E’(kPa) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Made Ground | - | 18 | 25 | 0 | - | - | 25000 |
| FirmClay | 10to50at 17m | 20(10sub) | 27 | 0 | 50at2m to250at 17m |  | 30000 |

- GEOTECHNICALCONDITIONS

  - Acceptance or recommendations of the Geotechnical Design Report to be used in the design/assessment and reasons for any proposed changes.

  - SummaryofdesignforhighwaystructureinGeotechnicalDesign Report.

The geotechnical design involved three stages, which are summarised below;

(i)	Ultimate Limit State (ULS) Analysis – This involves the use of factored soil parameters to estimate the required embedment of the wall, for overall stability to be maintained. This analysis has been carried out with the ‘CADS PWS2‘ geostructural modelling programme. Analysis also provides information on ultimate bending moments, shear forces and if applicable, ultimate loads on the struts.

(ii)	Serviceability Limit State (SLS) Analysis – This involves the use of unfactored soil parameters to estimate the lateral displacement of the wall, as well as service bending moments, shear forces and if applicable, service loads on the struts. The analysis has been carried out with the ‘CADS PWS2‘ geostructural modelling programme.

(iii)	Wall Capacity under Vertical Axial Loading – This is based on the traditional bearing capacity approach for axially loaded piles. However, the wall is assumed to act as a continuous deep strip footing below basement formation level, surrounded by a block of soil, with the assumption of a block type failure mechanism in the ultimate state. In addition, the bearing capacity factor Nc in the London clay is reduced with a reduction factor “f”, to account for the existence gaps between piles in the wall.

The reduction factor “f” is expressed as;

=D

4𝑆

Where D = pile diameter and S = pile centre to centre spacing. This approach produces an estimate of the axial capacity of the wall per metre run. Multiplying this value by the centre to centre spacing of the piles yields the vertical capacity of an individual pile. See Adekunte (2014) for more detailed information on this methodology.

  - DifferentialSettlementtobeallowedforinthedesign/assessmentofstructure.

Settlements should be lessthan10mm. All foundation design allows for this, where possible deviations should be mitigated or designed out

  - GeotechnicalInvestigation.

TheGeotechnicalInvestigationreportisappendedtothis report.

- CHECK

  - ProposedCategory

  - ProposedIndependentChecker

Category2

Fernhurst Design Limited

  - Erection Proposals or temporary works for whichTypesSandPProposals willberequired, list structural partsof the permanent structure affected withreasons.

N/A

- DRAWINGSANDDOCUMENTS

  - ListofDrawings(includingnumbers)anddocumentsaccompanyingthesubmission

- PileDesign for 59 Elm Avenue

- STM – Geotechnical Ground Investigation – 59 Elm Avenue – FINAL

- ALL EXISTING AND PROPOSED PLANS 26TH JAN 2022

- THEABOVEISSUBMITTEDFORACCEPTANCE

Weconfirmthatthedetailsofthetemporary worksdesignwillbepassedontothepermanentworks Designers for review

Signed

Name		S.Harrison

Design/AssessmentTeamLeader

EngineeringQualification

AMICE

Name of Organisation

Fernhurst Design Limited

Date -  16th October 2022

10THEABOVEISAGREEDSUBJECTTOTHEAMENDMENTSANDCONDITIONSSHOWNBELOW

Signed Name

PositionHeld

EngineeringQualifications

TAA

Date