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GREEN ROOF S YSTEM >  SEMPERGREEN  


Flat green roof 0-5°
The manufacturers confirm that this Flat roof covering is ideal as green roof. 

The system structure for a flat water-retaining green roof consists of a drainage layer with filter-fleece, extensive roof garden substrate, and a vegetation blanket.
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