## Case details
WLC Memo: GLA Consultation
Case details
Date of first review: | 2024-02-09
Case Name: | Former Sipson Garden Centre
Case Number: | 2024/0035
Case Officer: | Emma Scott
London Borough: | Hillingdon
Application Type (Outline/Hybrid/Detailed): | Detailed
Applicant: | Lewdown Holdings and Automania Garage Services
WLC Consultant: | Hydrock
Document Title: | 1. WLCA Template
Document Date: | 2023-12-21
Development proposals
Use | Floorspace/Number of units
Use Class B2 | 1366 | m2
m2
m2

## Detailed planning stage
London Plan: Policy SI 2 of the London Plan requires planning applicants to submit a Whole Life-Cycle Carbon (WLC) assessment: https://www.london.gov.uk/sites/default/files/the_london_plan_2021.pdf
Guidance and assessment template: Applicants should follow the GLA 'Whole Life-Cycle Carbon Assessments Guidance - March 2022 and the GLA WLC assessment template (https://www.london.gov.uk/what-we-do/planning/implementing-london-plan/london-plan-guidance/whole-life-cycle-carbon-assessments-guidance) which should be completed in full and submitted as an Excel document. Applicants should ensure they are familiar with the guidance in preparation for submitting their planning application.
The following comments set out how the applicant's planning application stage WLC assessment complies with the policy and guidance.
GLA Review_09/02/24 |  | Applicant's response
General compliance comments
1 | The applicant has provided all information within the project details section of the template under the Detailed planning stage tab, in line with the GLA Whole Life-Cycle Carbon Assessment guidance document.
2 | The assessment method stated does conform with BS EN 15978 and 'RICS Professional Statement and guidance, Whole Life carbon assessment for the built environment' (RICS PS) as set out in the GLA Whole Life-Cycle Carbon Assessment guidance document.
3 | The applicant has confirmed that the operational modelling methodology for Module B6 results follows TM54.
4 | The assessment has been completed with a reference study period of 60 years.
5 | The software tool used is listed in Appendix 1 of the GLA Whole Life-Cycle Carbon Assessment guidance document. The applicant has provided confirmation that the tool used follows BS EN 15978 and covers modules A-C as a minimum.
6 | The source of carbon data for materials and products, and EPD database stated within the assessment does come from acceptable sources as set out in the GLA Whole Life-Cycle Carbon Assessment guidance document.
7 | The applicant has confirmed that 95% of the cost allocated to each building element category has been accounted for in the assessment. The applicant should provide details/evidence of the review process undertaken to confirm that 95% of the cost per building element category has been modelled. | A cost plan was not available for the project therefore the team implemented robust data collection methods to ensure the costs were accounted for. These included workshops with the architect to ensure the build ups of materials were accounted for, and conservative assumptions and additional margins to ensure that all materials were accounted for.
8 | The applicant has provided explanation of the third-party verification mechanisms that have been adopted to quality assure the assessment.
9 | The applicant has given permission for the GLA to submit the assessment to the Built Environment Carbon Database.
Estimated WLC emissions
10 | The applicant has provided results that cover all of the life-cycle modules (A1-A5, B1-B5, B6-B7, C1-C4 and D).
11 | The applicant has provided results that fall within the WLC benchmarks for A1-A5 but not for B-C and has not reasonably explained the reasons for any divergences from the WLC benchmark. | All modules meet the WLC benchmarks, however they exceed the aspriational. Further work will be undertaken to select materials to reduce embodied carbon further at later design stages
Retention of existing buildings and structures
12 | The applicant has confirmed that options for retaining the existing buildings and structures have been fully explored before considering substantial demolition.
13 | The applicant has provided the pre-construction demolition carbon related emissions.
14 | The applicant has provided the percentage estimates of the new building development which will be made up of existing elements.
Key actions and further opportunities to reduce whole life-cycle carbon emissions
15 | The applicant has provided details of the main actions with the biggest impacts which have informed this stage of the assessment.
16 | The applicant has provided details of further potential opportunities which could be investigated as the design progresses, but which don't currently contribute towards the emissions reported in this WLC assessment.
17 | The applicant has provided an estimation of the WLC reduction (kgCO2e/m2 GIA) for all actions and further potential opportunities stated within the template.
Material quantity, assumptions and end of life scenarios
18 | The applicant has completed the material quantity and end of life scenarios table in full.
19 | All material types and quantities should be provided for all the applicable building element categories and align with the Assessment table. The applicant should address the following: - FFE missing. - Have the following MEEP items been considered: Renewable technologies, Fire alarm systems. | FFE are not included because of the stage of design where no fit-out has currently been designed so no specifics are included in materials. However, data from the GLA benchmarks have been used included in row 147. Fire alarm systems and additional MEP equipment have now been added to the calculation sheet. Photovoltaics have not been included as these are not included in Box 2 of guidance.
20 | Assumptions made with respect to replacement cycles (Module B) have been stated. Assumptions made with respect to maintenance and repair should also be stated. The additional information is welcomed. The applicant should confirm with table 9 of the RICS PS guidance on expected lifespans of materials and update accordingly. Note that this will also have an impact on the emissions values. | RICS defaults within OneClick used, in line with Table 9 of RICS PS
21 | Material 'end of life' scenarios (Module C) has been filled out for all applicable significant materials and the BoM should align with the projects separate Circular Economy Statement. | Module C aligns with the circular economy statement provided as part of the planning submission, due to updates to the WLC in response to this memo updates to the circular economy statement to align it will be required. This will be undertaken when GLA response is received for the circular economy statement and all updates done at once.
22 | The applicant has provided an estimated mass (kg) of reusable and recyclable materials for each building element category.
23 | The applicant has provided details of the refrigerants (name, charge, annual leakage rate, GWP, end of life recovery rate). The applicant should review the leakage and end of life recovery rate to ensure it is consistent with the TM65 methodology guidance. | This has been updated in line with TM65
GWP potential for all life-cycle modules
24 | The applicant should complete the template table completely but all results do seem within a reasonable range. The applicant should clarify the following: - Internal doors emissions omitted. -The applicant should refer to section 2.5.12 of the WLCA guidance and update B2 and B3 accordingly. B6 emissions omitted. | Internal doors are included in the calculations as per row 99. B2 & B3 updated in line with 2.5.12 of WLCA guidance.