"Mitigation measures for Flood Risk”

The design intention is to incorporate the following mitigation measures within the design:

- Concrete floors and tiled floors;

- No un-sealed service penetrations in a zone 1m above floor level;

- UPVC external doors;

- Wet plaster system at ground floor.

All in line with the Government's "General advice" as per the attached guidance document "Improving the flood performance of new buildings".

We can also confirm that it is our intention to sign up to the free flood warning scheme operated by the Environment Agency.

https://www.fws.environment-agency.gov.uk/app/olr/register

We also confirm that we have prepared an emergency flood plan using the attached EA template "Review your personal flood plan".

We trust this is sufficient to satisfy the best practice guidance measures for this minor development.