towers

TOWERS ASSOCIATES LTD

Prepared for Hillingdon Council

Site name: 4 The Close

Planning approval reference number: : 7918/APP/2024/1862

Condition Number/s: 4 &5

4 Prior to the commencement of development (excluding demolition and site clearance works),product details including manufacturer information of all external materials and finishes, external windows and doors, shall be submitted to and approved in writing by the Local Planning Authority. The development shall be carried out in accordance to the approved details.

5  Prior to the commencement of development, product details including manufacturer information of all external windows and doors shall be submitted to and approved in writing by the Local Planning Authority. The development shall be carried out in accordance to the approved details

Please note below are the intended materials availability allowing.

# Roof tiles –  (Manufacturer, Colour, Type)	Red Plain Tiles

# Breckland Brown Plain Tiles		(See attached data sheet)

Bricks main-  (Manufacturer, Colour, Type)

Wienerberger, Tuscan Red Multi Wirecut Facing brick			(See attached data sheet)

Render – (Manufacturer /Brand Type)

K-rend, Colour white, Silicone rendering       				(See attached data sheet)

Detailing – Black Timber

(Generic No Sample)

Fascia & Soffit –

Eurocell,  White, Plastic 						(Generic No Sample)

Gutter –

Eurocell, Black, Plastic 						(Generic No Sample)

Windows –

Rehau, White UPVC

Front Doors  -

StrongHold security doors Black Steel