towers

TOWERS ASSOCIATES LTD

Harefield Oil Terminal

Harvil Road,

UB9 6JL

01895 812822

REF:3321-01

DATE 24th June 2024

FIRE STATEMENT

90 LONG LANE ICKENHAM UB10 8SX

This Planning Fire Statement has been produced in support of the planning for the demolition of the existing dwelling house and erection of 9 flats at 90 Long Lane Ickenham, UB10 8SX.

This Fire Statement is intended to demonstrate compliance with Section D12(A), Section D12(B) of the London Plan. Section D5(B) does not apply in this instance as no lifts are present on the site.

The fire safety design is required to achieve the minimum standard required by Part B of the Building Regulations 2010 (hereafter referred to as Part B). Where relevant, reference is made to measures necessary to assist in discharge of duties under the Regulatory Reform (Fire Safety) Order (FSO) and the Fire Safety Act (4) information that is used to form part of the information pack handed over to the building Owner (Antech Solutions Limited) under Regulation 38 of the Building Regulations. Approved Document B, Volume 2, 2019 (ADB) (and associated British and European Standards) has been used as the basis of assessment for compliance with Part B.

The application site is located on the north-western side of Long Lane, some 80m to the north-east of its junction with Swakeleys Drive. It is a large plot with a deep rear garden. The road consists mostly of detatched dwelling houses, set back from the road, in an informal setting with a staggered relationship to the road frontage. To the north east, is a flat unit at No.88 Long Lane and beyond that is the Cardinal Hume Campus of the Douay Martyrs. On the opposite site is a dwelling house number 92.

This Planning Fire Statement has been produced by Towers Associates Ltd. Peter Norman has been a director of Towers Associates since 1988 and has worked on many projects

The expertise and competency of the author is commensurate with size, scope and complexity of this project. Prior to the commencement of the build we will consult a fire safety specialist and building control ensure full compliance.

At the time of writing  planning has not been granted however following planning approval a full Building Control application will be submitted. All plans will be checked against compliance with part B. During the build, the works will be checked at all stages including fire safety works and following inspection will be approved and signed off. This Fire Statement outlined herein ensures the project has met in full the functional requirements of Part B1-B5 of the Building Regulations 2010 as set out below:

• B1 - Means of Escape & warning

• B2 - Internal fire spread

• B3 - Internal fire spread

• B4 - External fire spread

• B5 - Access and facilities for fire fighting

Below the measures necessary to comply with the London Plan Fire Safety Standards for a new build development are discussed:

Upon occupation of the building the ‘responsible person’ as defined in the Regulatory Reform (Fire Safety) Order 2005 (FSO) is required by law to undertake a fire risk assessment. This document is not intended to will not satisfy this obligation but instead may be used as a basis for the risk assessment. The applicant will ensure this requirement is met and completed by the responsible person when required.

This Planning Fire Statement has been produced for Antech Solutions Limited and the information contained within this report is for use solely in relation the current planning application and should not be used in relation to any other project. Towers Associates Ltd does not accept responsibility for the use of this document for any other purpose or by other parties without their express written agreement.

KEY ROLES

| Role | Organisation |
| --- | --- |
| Client | Antech Solutions Ltd |
| Insurer | TBC |
| Planners | Tower Associates Ltd |
| Project Manager/Fire Safety Adviser | TBC |
| Building Control Authority | London Borough of Hillingdon |
| Fire Authority | London Fire Brigade (Hillingdon) |

The proposed development consists of one block containing 9 flats. Three on the first floor ,four being on the ground floor and 2 on the second floor.

Standard Protection measures for residential developments have been used such as a central staircase enclosed by 30 minutes fire check doors. Escape windows have been situated on all floors as required.

There is a protected staircase leading to the front door.

Evacuation can take place to the point outside the property gate on Long Lane, which is an open space evacuation point.

There will smoke detectors on every landing and a heat and CO2 detector in the each of the kitchens.

A fire blanket will be placed in the kitchen areas in the case of an oven fire.

All stairways and common parts are to have materials with a Class O spread of flame surface.

Standard regulations regarding fire protection and means of escape as per the current Building Regulations have been adhered to and thus proposed works will be compliant with all relevant Building Regulations standards.